Enzymatic Suitability Assay of HIV PROTEASE

PRINCIPLE:

HIV Protease Substrate  Product A + Product B

Abbreviations used:
HIV Protease Substrate = Lys-Ala-Arg-Val-Nle-Nph-Ala-NleNH2
Product A = Lys-Ala-Arg-Val-Nle
Product B = Nph-Ala-NleNH2

CONDITIONS: T = 37°C, pH = 5,5, A300nm

METHOD: HPLC Analysis of Proteolytic Cleavage Products

REAGENTS:

- 50 mM Sodium Acetate Buffer, pH 5,5 at 37°C
(Prepare 10 mL in deionized water using Sodium
Acetate, Trihydrate, Adjust the pH to 5,5 at 37°C with 1 M HCl.)

- 50 mM Sodium Acetate Buffer, pH 5,5 at 37°C with
1,085 M Glycerol, 1 mM Dithiothreitol, 1,0 M Urea, and 
100 mM Ethylenediaminetetraacetic Acid Disodium
(Refolding Buffer)
(Prepare 100 mL in deionized water using Sodium
Acetate, Trihydrate, Glycerol, DL-Dithiothreitol, Urea, 
Ethylenediaminetetraacetic Acid, Disodium Dihydrate,
Adjust the pH to 5,5 at 37°C with 1 M HCl.)

- 1,5 mM HIV Protease Substrate in 50 mM Sodium Acetate,
pH 5,5 at 37°C (Substrate Solution)
(Prepare 2 ml in Reagent A using HIV Protease Substrate)

- HIV Protease Solution
(Immediately before use, prepare a solution containing
0,05 mg/ml HIV Protease in Refolding Buffer (Reagent B).)

- 0,1% Trifluoroacetic Acid in Acetonitrile/Water (3:1)
(Solvent A)
(Prepare 500 ml in deionized water using
Trifluoroacetic Acid, Acetonitrile, deionized water.)

- 0,1% Trifluoroacetic Acid in water (Solvent B)
(Prepare 500 ml in deionized water using Trifluoroacetic Acid)

PROCEDURE:

Step 1:

Pipette (in milliliters) the following reagents into a suitable tube:

Reagent D (Enzyme Solution) 	0.09

Reagent C (Substrate Solution) 	0.02

Mix gently and incubate for 120 minutes at 37°C. Remove tube and put in an ice bath to stop the reaction. Refrigerate until the time of HPLC analysis.

Step 2:

HPLC Conditions:

Column: Vydac Reverse Phase C18, Particle size: 5 μm, 25 cm x 4,6 mm

Sample: 10 μL

Solvents: A. 0,1% Trifluoroacetic Acid in Acetonitrile/Water (3:1)

B. 0.1% Trifluoroacetic Acid in water

Gradient: 10% to 85% over 20 minutes

Flow Rate: 1,5 ml/min

Detection: 215 nm